## L-25
New York Independent System Operator Long-Term Electric Energy Forecast
2018 Baseline and 2019-49 Forecast1
| Energy (GWh) |  |  | Summer Peak Demand (MW)4 |  |  | Winter Peak Demand (MW)4
Year | Low Growth2 | Baseline3 | High Growth2 | Low Growth2 | Baseline3,5 | High Growth2 | Low Growth2 | Baseline3 | High Growth2
2018 |  | 158445 |  |  | 32512 |  |  | 24114
2019 | 155545 | 157459 | 159373 | 29772 | 32382 | 34186 | 22718 | 24123 | 25724
2020 | 154151 | 156044 | 157937 | 29607 | 32202 | 33990 | 22362 | 23745 | 25321
2021 | 152725 | 154600 | 156475 | 29483 | 32063 | 33839 | 22092 | 23457 | 25011
2022 | 152285 | 154155 | 156025 | 29398 | 31971 | 33740 | 22053 | 23415 | 24967
2023 | 151709 | 153572 | 155435 | 29150 | 31700 | 33456 | 22024 | 23381 | 24931
2024 | 151524 | 153386 | 155248 | 28985 | 31522 | 33263 | 21984 | 23340 | 24886
2025 | 150784 | 152639 | 154494 | 28863 | 31387 | 33117 | 21944 | 23297 | 24839
2026 | 150528 | 152380 | 154232 | 28734 | 31246 | 32964 | 21928 | 23281 | 24819
2027 | 150519 | 152371 | 154223 | 28619 | 31121 | 32832 | 21955 | 23307 | 24848
2028 | 151151 | 153012 | 154873 | 28570 | 31068 | 32778 | 22079 | 23436 | 24985
2029 | 151382 | 153247 | 155112 | 28612 | 31115 | 32827 | 22188 | 23550 | 25105
2030 | 151580 | 153449 | 155318 | 28566 | 31066 | 32776 | 22221 | 23586 | 25141
2031 | 151982 | 153857 | 155732 | 28557 | 31058 | 32767 | 22284 | 23652 | 25211
2032 | 153009 | 154899 | 156789 | 28643 | 31152 | 32865 | 22388 | 23762 | 25327
2033 | 153405 | 155302 | 157199 | 28763 | 31281 | 33002 | 22503 | 23884 | 25456
2034 | 154383 | 156293 | 158203 | 28903 | 31436 | 33163 | 22654 | 24043 | 25627
2035 | 155558 | 157486 | 159414 | 29116 | 31666 | 33403 | 22840 | 24240 | 25834
2036 | 157242 | 159194 | 161146 | 29325 | 31896 | 33642 | 23061 | 24471 | 26079
2037 | 158238 | 160203 | 162168 | 29573 | 32165 | 33924 | 23304 | 24728 | 26353
2038 | 159740 | 161726 | 163712 | 29830 | 32445 | 34217 | 23577 | 25018 | 26660
2039 | 161023 | 163026 | 165029 | 30063 | 32699 | 34486 | 23876 | 25335 | 26996
2040 | 163135 | 165164 | 167193 | 30345 | 33006 | 34810 | 24170 | 25647 | 27328
2041 | 164168 | 166210 | 168252 | 30610 | 33294 | 35114 | 24450 | 25944 | 27644
2042 | 165481 | 167539 | 169597 | 30855 | 33561 | 35396 | 24695 | 26204 | 27921
2043 | 166788 | 168862 | 170936 | 31096 | 33823 | 35672 | 24941 | 26465 | 28199
2044 | 168419 | 170513 | 172607 | 31339 | 34087 | 35950 | 25193 | 26732 | 28483
2045 | 169452 | 171559 | 173666 | 31577 | 34346 | 36223 | 25459 | 27014 | 28783
2046 | 170795 | 172919 | 175043 | 31818 | 34608 | 36499 | 25733 | 27305 | 29093
2047 | 172130 | 174271 | 176412 | 32046 | 34856 | 36761 | 26013 | 27602 | 29409
2048 | 173786 | 175948 | 178110 | 32273 | 35103 | 37021 | 26300 | 27907 | 29734
2049 | 175466 | 177649 | 179832 | 32498 | 35348 | 37279 | 26595 | 28220 | 30067
- - - Average Annual Growth — Percent5 - - -
2019-24 | -0.52% | -0.52% | -0.52% | -0.53% | -0.53% | -0.54% | -0.65% | -0.65% | -0.65%
2024-29 | -0.02% | -0.02% | -0.02% | -0.26% | -0.26% | -0.26% | 0.19% | 0.18% | 0.18%
2029-34 | 0.4% | 0.4% | 0.4% | 0.2% | 0.21% | 0.2% | 0.42% | 0.42% | 0.42%
2034-39 | 0.86% | 0.86% | 0.86% | 0.8% | 0.8% | 0.8% | 1.08% | 1.07% | 1.07%
2019-29 | -0.27% | -0.27% | -0.27% | -0.39% | -0.39% | -0.4% | -0.23% | -0.24% | -0.24%
2029-39 | 0.64% | 0.64% | 0.64% | 0.51% | 0.51% | 0.51% | 0.76% | 0.76% | 0.75%
2039-49 | 0.9% | 0.9% | 0.9% | 0.81% | 0.81% | 0.81% | 1.14% | 1.14% | 1.14%
2019-39 | 0.18% | 0.18% | 0.18% | 0.05% | 0.05% | 0.04% | 0.25% | 0.25% | 0.25%
2019-49 | 0.43% | 0.43% | 0.43% | 0.31% | 0.31% | 0.3% | 0.57% | 0.57% | 0.56%
1 All results in this table include transmission and distribution losses.
2 The low and high forecasts are at the 10th and 90th percentiles for extreme weather conditions, respectively.
3 Energy and Peak figures for 2018 are weather-normalized.
4 Summer Capability period is from May 1 to October 31 of the current year. Winter Capability period is from November 1 of current year to April 30 of the following year.
5 The 2019 New York Control Area (NYCA) summer peak forecast is the same as the 2019 New York Installed Capacity (ICAP) forecast.
SOURCE: New York Independent System Operator, 2019 Load & Capacity Data; https://www.nyiso.com/library (last viewed July 26, 2019).